## Slide 1
NIGERIAN NATIONAL NETWORK OF SEISMIC STATIONS
CENTRE FOR GEODESY AND GEODYNAMICS
NATIONAL SPACE RESEARCH AND DEVELOPMENT AGENCY
FEDERAL MINISTRY OF SCIENCE AND TECHNOLOGY
PMB 011, TORO
BAUCHI STATE, NIGERIA

## Slide 2: Background
Although Nigeria is not located within the
major seismic belts of the world, minor earth
tremors have been reported in some parts of
Nigeria. These events were reported in Lagos
and Ile-Ife in 1933 and 1939, Ibadan and
Ijebu-Ode in1984, Yola in 1984, Gombe in
1985, Ibadan in 1990, Akure in 2000 and
Minna in 2006.

## Slide 5
YET TO BE INSTALLED

## Slide 6: OBJECTIVES
The major objectives of this project include
among others the following:
To create a database of the seismicity of Nigeria and neigbouring countries
To exchange data with countries
To use collected data for realistic earthquake hazard assessment
To acquire continuous seismic data

## Slide 7: The Nigeria National Network of Seismic Stations
The Nigeria National Network of Seismic
Stations (NNNSS) was established in August
2008 with 3 stand-alone stations in Kujama, Ile-Ife
and Nsukka.
The stations are equipped with broadband triaxial
seismometer ,multi-channel 24-bit low
power data acquisition system and are strictly
powered by solar panels.
In the coming years, the NNNSS would be
expanded to include additional 6 stations which would be located at

## Slide 8
Oyo, Ibadan, Minna, Abuja, Abakaliki, Awka

## Slide 9
REMOTE SEISMIC STATION
A PLATFORM AND A SENSOR

## Slide 10: Instrumentation
Figure 1 EENTEC EP-105
Figure 2 DR-4000

## Slide 11
Each of the installed 3 stations we has Seismometer and recorder. The seismometer

## Slide 12
DESCRIPTION OF EQUIPMENT INSTALLED
GEOLOGY OF NIGERIA
Acquisition of Data and Seisan Processing
STATION
NAME Station Name Code
Latitude
(deg.)
Longitude
(deg.)
Altitude
(m) Digitiser Sensors
Data
Transfer
Date
Installed
ADDRESS
The DR4000 has Directory D4000 contains 4 subdirectories:
DAS: files necessary to operate the Data Acquisition
System
GPS: GPS-02 receiver time reference
OFFICE: for the use of a hot-swappable disk in the office
computer
COMM. T:PC program (CLIENT) used for the remote data
retrieval via dial-up access.
All programs and configuration files are stored on the internal hard drive C: and data is stored on the
removable media drive D:
.

## Slide 13
Data Processing
SEISAN is the only software used in processing our data

## Slide 14
CONCLUSION
Already NNNSS has installed 3 stations in different states of Nigeria and additional 6 would installed soon. Now waiting for ground motion to be generated by an earthquake anywhere in Nigeria to be recorded.

## Slide 15
THANK YOU